University of Science and Technology

Faculty of Engineering

Biomedical Engineering Department

Biomedical Engineering Program

[Biomedical Equipment 3] (BME402)

SECOND TERM 2010/2011

TAKEN ON FIRST TERM 2011-2012 BECAUSE OF COUNTRY STATUS

COURSE SYLLABUS

[توصيف المقرر]

One copy of this Course Syllabus is to be provided to each student registered in this course.  It should be kept secure and retained for possible future use.  A charge will be levied for a replacement copy.

- PROGRAM OUTCOMES [ABET]

(a) An ability to apply knowledge of mathematics, science, and engineering to the solution of biomedical engineering problems.

(b) An ability to design and conduct experiments, as well as to analyze and interpret data.

(c) An ability to design a biomedical engineering system, component, or process to meet desired needs within realistic constraints such as economic, environmental, social, political, ethical, health and safety, manufacturability, and sustainability.

(d) An ability to function on multi-disciplinary teams.

(e) An ability to identify, formulate, and solve engineering problems.

(f) An understanding of professional and ethical responsibility.

(g) An ability to communicate effectively based upon analytical and critical thinking skills.

(h) The broad education necessary to understand the impact of engineering solutions in a

global, economic, environmental, and societal context.

(i) A recognition of the need for, and an ability to engage in life-long learning.

(j) A knowledge of contemporary issues relevant to biomedical engineering.

(k) An ability to use the techniques, skills, and modern engineering tools necessary for engineering practice.

(l) An understanding of biology and physiology, and the capability to apply advanced mathematics, science, and engineering to solve the problems at the interface of engineering and biology.

(m) The ability to make measurements on and interpret data from living systems, addressing the problems associated with the interaction between living and non-living materials and systems.

- OUTCOMES COURSE MATRIX [كيف يمكن للمقرر ان يخدم المخرجات الاصلية للبرنامج]

| Course/Outcomes | a | b | c | d | e | f | g | h | i | j | k | l | m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BME402 | M | L | M | H | M | M | H | x | x | H | M | x | x |
| Activity to achieve the outcome 38 | Homework | Lab | Group presentation | Oral presentation of term projects. | Homework, exam | Homework, term paper | homework, lab summaries, term paper |  |  | Term paper | Term project |  |  |

H : 50% contribution to the outcome.

M: 25-50% contribution to the outcome.

L: 10-25% contribution to the outcome.

- COURSE INFORMATION [معلومات عن المقرر]

1. COURSE TITLE:         Biomedical Equipments 3

2. COURSE CODE:         BME402

3. CREDIT HOURS:        4

4. PREREQUISITE:	ELECTRONICS 1+2, Bio-Physics, DSP

5. COREQUISITE:           XXX

6. PREPARED BY:          FADHL ALAKWAA

7. APPROVED BY:         ABET

- INSTRUCTOR INFORMATION [معلومات عن مدرس المقرر]

- Instructor:              FADHL MOHAMED ALAKWA

- Office:                   5122

- Phone:                   777012076

- Email:                   fadlwork@gmail.com

- Office Hours:       2

- CLASS TIME AND PLACE [مكان ووقت المحاضرات]

- Days and Time:    Tuesday

- Class Location:    3-9

- COURSE POLICIES [السياسات المتبعة في تدريس المقرر]

- Class Attendance:  سياسة حضور الفصل

تحدد سياسة الحضور ومتى يعتمد الغياب وكيفيته ونسبته، ومتى يعد الطالب محروماً من المقرر

Punctuality and regularity of attendance are required for satisfactory completion of course work. Attendance will be checked at the beginning of each class. University regulations will be strictly followed for students exceeding the maximum number of absences.

- Tardy: حالات التأخير

يتم تحديد السياسة المتبعة في حالات تأخر الطالب عن الفصل

Students are expected to come to lectures, examinations, discussion sections, and laboratory sections on time; arriving late and/or leaving early is disrespectful and disrupts the entire class.

- Exams الامتحانات

السياسات المتبعة في حالات الغياب عن الامتحان

Makeup exams will be offered to students who miss a scheduled exam because of illness, death in the family or university-sponsored activity, but written documentation must be provided.

There are no make-ups for any tests missed. If you cannot take a test on the scheduled test day due to illness, athletic events, etc., it is your responsibility to contact/call the instructor to take the test earlier.

- Assignments & Projects: التكاليف والمشاريع

السياسات المتبعة في حالات تأخير تسليم التكاليف والمشاريع ومتى يجب أن تسلم إلى الأستاذ

Assignments:

All homework is due the date and time the test is given. No late homework will be accepted.

Projects:

Students will be organized into teams of four and each team selects a topic from a list of topics provided to students at the start of the semester. The team should share and distribute responsibility. Each team submits a technical report and prepares a class presentation.  Making use of all resources, e.g., patents, journal publications, internet, labs, etc., is encouraged. The report is due one week before the scheduled class presentation. The report must be typed. Hand-written reports are not accepted. The report should not exceed 15 pages. Late reports are not accepted.

- Exam Attendance/Punctuality:  الانتظام وحضور الامتحان

توصيف السياسة المتبعة في حالات تأخر الطالب عن الامتحان

Students must arrive in class on time. Late arriving students will not be permitted to take the exam.

- Re-sit Exams: الامتحانات التعويضية

السياسات المتبعة في حالة إعادة الامتحان لأحد الطلاب وتحديد الظروف المقبولة لإعادة الامتحان

Examinations can be made up only in the case of excused absences; an unexcused absence at an exam will constitute a failure of the exam. Makeup exams will not conform to the scheduled exam format, and often consist of several essays worth 10–25 points each.

- Cheating: الغش

تحدد هنا السياسات المتبعة في حالات الغش إما في الامتحانات أو في التكاليف بأي طريقة من طرائق الغش.

It is the responsibility of each student to adhere to the principles of academic integrity.  Academic integrity means that a student is honest with him/herself, fellow students, instructors, and the University in matters concerning his or her educational endeavors.  Cheating will not be tolerated in this course. University regulations will be pursued and enforced on any cheating student.

- Plagiarism: الانتحال

يحدد تعريف الانتحال وحالاته والإجراءات المتبعة في حالة حدوثه.

Plagiarism is defined as “copying or stealing someone else’s words or ideas and claiming or presenting them as if they were your own.”

There is many an online plagiarism detection service like www.turnitin.com. Students are encouraged to use these tools as a teaching tool that allows students to check their work for uncited sources before turning it in to you.

- Other policies: سياسات أخرى

أي سياسات أخرى مثل استخدام الموبايل أو تسليم التكاليف عبر نظام إدارة التعليم الالكتروني أو استخدامه

When you are in class and in the Lab, turn off all cell phones, IPods, and pagers.

- GRADING SYSTEM  نظام التقييم

يتم توضيح نظام التقييم ورموزه ودرجة النجاح فيه وكيف يتم استخدام أداة التقريب في الدرجات الحدية وغيره

Term Exam:  50 points

Midterm Exam: 15 Points

Lab: 15 Points

Class Project: 15 Points

Other (Homework assignments, quizzes, class participation etc.): 5 points

Grade will be the summation of all of the above weighted by your attendance percentage. Failing to attend at least 80% of the classes will result in a failing grade in this class.

- RESOURCES: المراجع

Text Book الكتاب الأساسي للمقرر

The Essential Physics of Medical Imaging (2nd Edition), Jerrold T. Bushberg, 2001.

Supplement (s) المراجع الإضافية والداعمة

MEDICAL IMAGING PHYSICS Fourth Edition, William R. Hendee, 2002.

The physics of medical imaging, Steve Webb, 1988.

Introduction to Biomedical Imaging, Andrew Webb – John Wiley & Sons, Inc, 2003.

MEDICAL IMAGING Principles, Detectors, and Electronics, Krzysztof Iniewski, 2009.

An Introduction to the Principles of Medical Imaging, Chris Guy, 2005.

Fundamentals of Medical Imaging Second Edition Paul Suetens 2002.

Essential Nuclear Medicine Physics Rachel A. Powsner 2006.

Biomedical Imaging KAREN M. MUDRY 2003.

Intermediate Physics for Medicine and Biology, Russell K. Hobbie, 2001.

Encyclopedia of Medical Devices and Instrumentation, 6 Volume Set - Second Edition by: John G. Webster

The Biomedical Engineering Handbook, 3rd Edition (3 Volume Set)by: Joseph D. Bronzino

Medical Instrumentation Application and Design, 4th Edition by: John G. Webster

Handbook of Modern Sensors: Physics, Designs, and Applications, Fourth Edition by: Jacob Fraden

Biomedical Instrumentation: Technology and Applications By R. Khandpur

- COURSE DESCRIPTION AND PURPOSE توصيف المقرر وأهدافه

- Course Description: توصيف المقرر

This course covers biomedical imaging modalities: {Ultrasound + X-ray + CT +MRI + PET+ SPECT}

- Purpose: الغاية (الهدف) من هذا المقرر

The purpose of this course is to expand the student’s knowledge with new biomedical imaging modalities, advantage, disadvantage, troubleshooting and the future modalities generation.

- COURSE OUTCOMES مخرجات المقرر

At the end of this course the students could:

- Understand the differences between different imaging modalities.

- Expand and enhance essential knowledge of medical imaging required in the BMET concentration.

- Increase mathematical and scientific knowledge required for medical imaging.

- An ability to identify, analyze, and solve technical problems.

- Provide the fundamental vocabulary related to medical imaging allowing BMET graduates the opportunities to advance after graduation.

- A recognition of the need for, and an ability to engage in lifelong learning.

- an ability to understand professional, ethical, and social responsibilities.

- The application of computer programming, associated software, and microcomputers to the building, testing, operation, and maintenance of electrical/electronics systems.

- The applications of physics or chemistry to electrical/electronics circuits in a rigorous mathematical environment at or above the level of algebra or trigonometry.

- The ability to analyze, designs, and implement control systems, instrumentation systems, and computer systems.

- The ability to utilize transform methods in support of electrical/electronic systems.

- Explain the physics of image formation for the various modalities.

- Identify the sources of image degradation for the different modalities.

- Understand the basic science behind all major medical imaging modalities and techniques, and to assess the potential applications of these modalities and techniques to complex research and clinical situations.

- Contrast the uses of the different imaging techniques w.r.t. their advantages and disadvantages.

X-RAY

- Describe and understand the basic concepts of electricity and ionizing radiation.

- Describe how x-rays are produced.

- Describe the two mechanisms by which energetic electrons produce x rays and the energy distribution for each mechanism of x-ray production.

- Describe the function of the cathode and anode of an x-ray tube and how variations in their design influence x-ray production.

- Describe how the controls of an x-ray system affect the technique factors used in diagnostic imaging.

- Define the attributes of an x-ray beam including the function of filtration, spectrum of energies produced, and beam restriction.

- Describe the heel effect and how it can be used to improve clinical radiographs.

- Describe the fundamental characteristics of all projection imaging systems that determine the capabilities and limitations in producing an x-ray image.

- Review the detector types used to acquire an x-ray imaging. Describe how radiation is detected by each detector type and the different attributes of each detector for recording information.

- X-ray components()

- X-ray quality control

- X-ray safety.

- X-ray Specfications.

CT:

How CT work?

What are the differences between CT and conventional X-ray? The limitations to the conventional x-ray (superimposition, embedded matter, same blackening, ).

Define CT terminology? Like (Convolution, Back projection, DAS, multislices, pitch, helical, CTDI, Axial and temporal resolution, HU, CT number, windowing, attenuation, construction methods, sliprings, PACS & DICOM).

CT generations, the history of CT

CT components (Gantry, table, high voltage section, water cooling system, console control section, archive and image ).

Detectors types (Xenon gas, solid state, )

CT specifications

How to install CT machine? The requirements?

CT quality control

CT safety.

Ultrasound:

Ultrasound physics

Ultrasound clinical Application

- Adult/pediatric

- General abdominal

- Obstetric/gynecological/foetal

- Small parts/breast/musculoskeletal

- Vascular/cardiac

- Biopsy/interventional

Ultrasound Terminology (sonograph, )

Ultrasound components ()

Ultrasound Modes

- B AND M-mode

- Color, spectral, power Doppler

- Tissue harmonic imaging (detection of harmonics signals; abdominal and liver)

- Contrast agent imaging (detection of subtle parenchymal change and metastases in the liver. abdominal and vascular)

- 3-D imaging

Transducer Types

- Linear

- Curved linear array

- Phased array/sector

- Endocavitary

- Intraoperative

Ultrasound Specifications (application-( specifications( cost)

Future development

Professional and regulatory bodies have produced guidelines, standards and protocols for performance tests of ultrasound imaging equipments.(purchasing, recommendation for performance testing, standards and protocols)

Provide standers for ultrasound equipment, which will aid in the decision-making process and assist the purchaser in arriving at a sound acquisition strategy.

|  |  | Transducer/ frequency MHZ | Depth cm | Mode |
| --- | --- | --- | --- | --- |
|  |  |  | Min | Req |  |
| Abdominal | liver, spleen, kidney, gallbladder, pancreas and retroperitoneum | LCA/PA 2-7 min 2-10 req | 15 | 18 | B |
|  |  | LCA/PA 2-5 1.5-4 | 10 | 15 | Spectral Doppler |
|  |  | LCA/PA 2-5 min 1.5-4 req | 10 | 15 | Flow imaging |
| Small parts |  | LA 7-10 min 5-15 req | 6 | 8-10 | Dynamic imaging |
|  |  | LA 4-5 min 4-8 req | 6 | 8-10 | Spectral Doppler |
|  |  | LA 4-5 min 4-8 req | 6 | 8-10 | Flow imaging |
| Vascular |  | LA CLA 2-8 MIN 2-10 REQ | 6 | 8 | Dynamic imaging |
|  |  | LA CLA 2-8 MIN 2-10 REQ | 6 | 8 | Spectral Doppler |
|  |  | LA CLA 3-5 MIN 3-6 REQ | 6 | 10 | Flow imaging |

MRI:

- Explain the basic principles of MRI as an imaging modality.

- Analyze the MRI system in terms of physical mechanisms, data generation and acquisition, image creation and processing.

- Understand the theory and practical construction of radiofrequency coils, magnetic field gradients, and superconducting magnets

- Comprehend the interactions of the magnetic field produced by a radiofrequency probe and the nuclear spins, the induced precession and the process to give rise to the MRI signal.

- List strengths and weaknesses associated with the MRI technology.

- Demonstrate in written or verbal manner their knowledge in the electronic systems and sub systems and components necessary for image formation.

- Develop a basic knowledge in radiographic health physics.

- Understand the importance of radiation protection for the operator and patient.

- Demonstrate knowledge in film processing and quality assurance.

- Demonstrate knowledge in the basic principles regarding production of special imaging (CT, Fluoroscopy, and Nuclear Medicine).

- METHODS OF TEACHING طرائق التدريس المستخدمة في المقرر

The form of participatory and active learning methods will be conducted via Direct instruction, Brainstorming, Lecturing, Individual participation, and Projects. PowerPoint presentations will be prepared for the course materials.

A typical lecture would start with a short review with discussions to measure the students’ digestion of the previous material. Then, the students would have a lecture on new materials. The lecture presentation will be paused when needed with brain storming sessions that will allow students to reflect and think in more depth about what they learned in the lecture. Example problems will be presented and discussed with the students to illustrate the appropriate problem solving skills that the students should learn.

- COURSE LEARNING ASSESSMENT/EVALUATION

تقييم/تقويم مستوى التعلم في المقرر

The following methods of learning assessment will be used in this course:

|  | Assessment وسيلة التقييم | Weight الوزن | Description الوصف |
| --- | --- | --- | --- |
| a | 3 Tests | 65% | - Multiple choice questions - Definitions - Fill in the blanks - Essay questions |
| b | Project | 15% | -Biomedical Equipment– Term paper - Group presentation |
| c | Lab | 15% | -Experiments on IMTAK LAB |
| d | In class participation | 5% | Student Contribution and cooperation : In class discussion Asking questions - Responding to questions |
|  | Total | 100% |  |

The details for the methods of assessment are presented below:

تفاصيل طرق التقييم المذكورة آنفاً كالتالي:

- Tests الامتحانات

| Testالامتحان | Weightالوزن | CLOمخرجات التعلم المستهدفة | Due Dateالموعد |
| --- | --- | --- | --- |
| Test 1 | 7.5% | 1, 2,3,4 | Week 6 |
| Test 2 | 7.5% | 5,10,15 | Week 10 |
| Test 3 | 50% | 9,16,17,20 | Week 16 |
| Total | 65% | 1,2,3,4,5,10,15,9,16,17,20 |  |

- Project  المشروع

Every three students have to select one topic from the below site:
https://docs.google.com/spreadsheet/ccc?key=0AqhqY231XZd3dGMzR3YyREo4UDNMV2JoSTI4SGV0bGc&hl=en_US#gid=6

The term paper should be 10 to 15 pages long excluding title pages, abstract, references, appendices, notes, etc.  The paper must have an abstract, an introduction with a thesis statement, a body, and a summary.  The content should contain information related to topic areas covered in the course.

A group presentation on the topic chosen for the term paper.  Each member of the group should be involved in the presentation of the topic.  The presentation will be presented during approximately 30 minutes for each presentation.

| Phasesمراحل تنفيذ المشروع | CLO مخرجات التعلم | Scope &Focus مدى وبؤرة التركيز في كل مرحلة | Due date موعد التسليم لكل مرحلة |
| --- | --- | --- | --- |
| Phase 1 | 5, 6, 11,12 | Theory of operation, Functional block diagram | Week 5 |
| Phase 2 | 8, 12 | Implementation of blocks, summary of operation | Week 9 |
| Phase 3 | 7 ,18 | Survey of similar device and their comparison Your comments and suggestions | Week 14-16 |

Notes: أي ملاحظات أخرى تخص مجموعة عمل المشروع وعرض المشروع وغيره من الملاحظات

Every three students have to select one project from the below site:
https://docs.google.com/spreadsheet/ccc?key=0AqhqY231XZd3dGMzR3YyREo4UDNMV2JoSTI4SGV0bGc&hl=en_US#gid=6

- COURSE SCHEDULE/CALENDAR الجدول الزمني لتنفيذ المقرر

| Week الاسبوع | Topic الموضوع | Material المرجع | Project Due date موعد تسليم المشروع | CLO مخرجات التعلم المغطاة |
| --- | --- | --- | --- | --- |
| 1 | Students receive curriculum description and discuss on course polices. | handouts | -- | -- |
| 2 | Introduction to Medical Imaging | Chapter1 |  | 1 |
| 3 | Radiation and the Atom | Chapter2 |  | 2 |
| 4 | Interaction of Radiation with Matter | Chapter3 |  | 3 |
| 5 | X-ray Production, X-ray Tubes, and Generators | Chapter5 | Phase 1 | 4 |
| 6 | Test 1 الامتحان تحديد محتوى الامتحان |  |  | 1, 2,3,4 |
| 7 | Screen-Film Radiography | Chapter6,7 |  | 5 |
| 8 | Mammography | Chapter8 |  | 10 |
| 9 | Fluoroscopy | Chapter9 | Phase 2 | 12 |
| 10 | Test 2 الامتحان تحديد محتوى الامتحان | Chapter7 |  | 5,10 |
| 11 | Computed Tomography | Chapter13 |  | 12 |
| 12 | Nuclear Magnetic Resonance | Chapter14 |  | 10 |
| 13 | Magnetic Resonance Imaging (MRI) | Chapter15 |  | 12 |
| 14 | Ultrasound IMAGING | Chapter16 | Phase 3 | 9 |
| 15 | Ultrasound IMAGING | Chapter16 |  | 11 |
| 16 | Test 3 الامتحان تحديد محتوى الامتحان | --- |  | 9,12 |

- COURSE LEARNING OUTCOMES ASSESSMENT:

تقييم مخرجات التعلم الخاصة بالمقرر

| المخرجات | وسائل التقييم المستخدمة في المقرر |
| --- | --- |
| Outcomes | Test 1 | Test 2 | Test 3 | Project |
| 1 | √ |  |  |  |
| 2 | √ |  |  |  |
| 3 | √ |  |  |  |
| 4 | √ |  |  | √ |
| 5 |  | √ |  | √ |
| 6 |  |  |  | √ |
| 7 |  |  |  | √ |
| 8 |  |  |  | √ |
| 9 |  |  | √ | √ |
| 10 |  | √ |  |  |
| 11 |  |  |  | √ |
| 12 |  |  |  | √ |
| 13 |  |  |  | √ |
| 14 |  |  |  | √ |
| 15 |  | √ |  | √ |
| 16 |  |  | √ |  |
| 17 |  |  | √ |  |
| 18 |  |  |  | √ |
| 19 |  |  |  | √ |
| 20 |  |  | √ | √ |

LIST OF ADDITIONAL RESOURCES

قائمة بأي مراجع إضافية كالمواقع والكتب وغيره